Smart Env Monitor – User Guide

This guide is written for the municipality's users (both technical and non-technical) who will use Smart Env Monitor to monitor bathing water quality and related environmental data.

The guide describes:

- How the system is built

- How to start the system (Docker + simulator)

- How to use the dashboard

- How roles and permissions work

- How alert rules and monitoring work

- Common errors and how to resolve them

In short: The system simulates a real IoT flow: sensors → API → database → API → dashboard.

1. System Overview

The system consists of the following main parts:

- Sensor simulator (Python)

  - Reads a dataset of historical measurements from automatic sensors in Chicago.

  - Continuously sends measurements to the backend via HTTP (POST /api/data/) using a secret API key.

- Backend / API (Django + Django REST Framework)

  - Receives measurement data and stores it in the database.

  - Exposes data via API endpoints for the dashboard and other potential systems.

  - Validates API keys, enforces rate limiting, and handles alert rules.

- Database (PostgreSQL)

  - Stores all sensor readings, alert rules, alert events, and incident reports.

- Dashboard / Web interface (Django Templates)

  - Displays current status, historical graphs, sensor health, alert rules, and incidents.

  - Provides different views based on the user's role (Admin, Manager, Analyst, Viewer).

- Monitoring

  - Health endpoint at /health/ for technical monitoring.

  - check_sensor_health command that checks whether sensors have stopped sending data.

2. Starting the System (Production with Docker)

This is the recommended method for operations and demonstration.

2.1. Prepare .env

- Copy the file .env.example to .env in the project root:

  - On Windows: copy in Explorer or using e.g. copy .env.example .env

- Open .env and fill in at least:

env

SECRET_KEY=<secret_django_key>

DEVICE_API_KEY=<secret_device_api_key>

DATABASE_URL=postgresql://smartenv:smartenv@db:5432/smart_env_monitor

PROXY_HTTP_PORT=18080

PROXY_HTTPS_PORT=18443

SENSOR_STALE_MINUTES=30

SENSOR_HEALTH_EMAIL_TO=

Recommended way to generate secure keys:

bash

python -c "import secrets; print('SECRET_KEY=' + secrets.token_urlsafe(48)); print('DEVICE_API_KEY=' + secrets.token_urlsafe(32))"

Copy the generated values into .env.

2.2. Start the Docker stack

- Start Docker Desktop.

- Open a terminal in the project folder:

bash

cd c:\Jensen\LIA2\IoT_project\smart-env-monitor

docker compose up -d –build

- Verify that the containers are running:

bash

docker compose ps

You should see at least:

  - db (PostgreSQL)

  - web (Django/Gunicorn)

  - proxy (Caddy) on ports 18080/18443

2.3. Create an admin user

- Create an administrator:

bash

docker compose exec web python manage.py createsuperuser

- Enter:

  - Username (e.g., admin)

  - Email address (must be valid, e.g., admin@kommun.se)

  - Password (will not be shown; enter twice)

- Log in to the admin interface at:

  - http://localhost:18080/admin/

2.4. Start the sensor simulator

- Open a new terminal in the project root.

- Ensure that .env contains:

env

BACKEND_URL=http://localhost:18080/api/data/

SENSOR_ID=env-sensor-01

SENSOR_INTERVAL=10

DATASET_PATH=sensor/dataset/environment_data.csv

DEVICE_API_KEY=<same_key_as_in_BACKEND>

- Start the simulator:

bash

python sensor/simulator.py

- The simulator will output e.g.:

Starting simulator. Target: http://localhost:18080/api/data/

See your live graphs here: http://localhost:18080/dashboard/

Reading from: sensor/dataset/environment_data.csv

Sent data for Ohio Street Beach: Temp=...

3. Dashboard – How to Read Data

3.1. Open the dashboard

Open your web browser and go to:

- http://localhost:18080/dashboard/

The dashboard can be viewed without logging in (public view). Login is required for certain tools and report views.

3.2. Current values

At the top, you see the current value for:

- Water temperature (°C)

- Turbidity (NTU)

- Wave height (m)

- Battery level (%)

The status box (OK/Warning) summarizes the quality assessment.

3.3. Historical graphs

In the middle of the page, graphs for the last 24 hours (or a custom interval) are shown:

- X-axis: time

- Y-axes: temperature, turbidity, wave height, etc.

You can:

- Select an interval (From / To) and click Show interval.

- Switch to live view (24h) using the Live (24h) button.

3.4. Sensor status (Stale/OK)

Further down, there is a Sensor Status table:

- Each row represents a sensor (e.g., a beach).

- Columns:

  - Sensor – sensor ID or beach name.

  - Last received – the most recent time data was received.

  - Status – OK or Stale.

  - Age – minutes since the last measurement.

A sensor becomes Stale if it has not reported within SENSOR_STALE_MINUTES (default 30 minutes). This gives a quick overview of whether any sensor has “died” or lost connection.

4. Roles and Permissions (RBAC)

The system uses Django groups to distinguish roles. The most important roles are:

- Admin

  - Full access.

  - Can use Django Admin (/admin/), create users, modify groups and alert rules.

- Manager

  - Can see manager-specific report views, incident lists, and export data.

  - Protected views:

    - /dashboard/manager/

    - /dashboard/reports/

- Analyst

  - Has access to analysis views (e.g., /dashboard/analyst/) for deeper data analysis.

- Viewer

  - Can see the dashboard and all visualised data (read-only).

Technically:

- Group checks are performed both in views and templates, using e.g. user|has_group:"Manager" and @user_passes_test(...).

4.1. Assign roles

- Log in as Admin at /admin/.

- Go to Users.

- Open a user.

- Under Groups, add e.g.:

  - Admin

  - Manager

  - Analyst

  - Viewer

- Save.

5. Alert Rules

Alert rules are used to automatically monitor sensor data and send email when certain conditions are met, for example:

- “Turbidity > 5 NTU on a specific beach”

- “Quality = Poor”

5.1. Where are alert rules located?

Alert rules and alert events are found in the admin interface at:

- /admin/api/alertrule/

- /admin/api/alertevent/

They are also summarised at the bottom of the dashboard:

- Active alert rules

- Recent alert events

5.2. Create a new alert rule (example)

- Log in as Admin.

- Go to /admin/api/alertrule/ and click Add Alert Rule.

- Fill in e.g.:

  - Name: High turbidity – Ohio Street Beach

  - Enabled: checked

  - Sensor id: leave blank to apply to all sensors, or set e.g. Ohio Street Beach.

  - Metric: Turbidity

  - Operator: > (gt)

  - Threshold number: e.g. 5.0

  - Recipient email: e.g. environment@kommun.se

  - Cooldown minutes: e.g. 30 (at least 30 minutes between alerts from the same rule)

- Save.

When a subsequent measurement meets the condition (turbidity > 5.0), the system will:

- Create an AlertEvent.

- Attempt to send an email to the specified recipient.

Note: For email to work, email settings must be correctly set in .env (see next section).

6. Email Settings

For alert rules and sensor health alerts to send email, the following variables need to be set in .env:

env

DEFAULT_FROM_EMAIL=smartenv@kommun.se

EMAIL_HOST=smtp.kommun.se

EMAIL_PORT=587

EMAIL_USE_TLS=True

EMAIL_HOST_USER=smartenv@kommun.se

EMAIL_HOST_PASSWORD=<password_or_app_password>

SENSOR_HEALTH_EMAIL_TO=drift@kommun.se

Recommendation:

- Use a dedicated account (e.g., smartenv@kommun.se) with an app password.

- Then test with:

bash

docker compose exec web python manage.py check_sensor_health --stale-minutes 0 --email-to drift@kommun.se

This forces a test alert (all sensors are considered stale with a threshold of 0 minutes).

7. Monitoring and Operations

7.1. Health endpoint

Endpoint:

- GET /health/

Response:

- 200 OK with JSON status (e.g., {"status": "ok", "database": "connected"}) when everything works.

- 503 Service Unavailable if the backend cannot reach the database.

Usage:

- Can be connected to the municipality's monitoring system (e.g., ping every 30 seconds).

7.2. Sensor health (CLI command)

Command:

bash

docker compose exec web python manage.py check_sensor_health --stale-minutes 30 --email-to drift@kommun.se

Function:

- Counts the number of sensors.

- Marks which are OK and which are Stale.

- Sends an email if any sensor is stale (if --email-to or SENSOR_HEALTH_EMAIL_TO is set).

- Can be connected to a scheduler (cron, Windows Task Scheduler, etc.).

8. API Overview (for technicians)

The most important API endpoints:

- Ingest (sensor → backend)

  - POST /api/data/

  - Auth: X-Device-Key: <DEVICE_API_KEY> or Authorization: Bearer <DEVICE_API_KEY>

  - Rate limiting: sensor_ingest (e.g., 120 requests per minute).

- Latest value

  - GET /api/data/latest/?sensor_id=<id>

  - Auth: requires logged-in user (only for internal systems/users).

  - Rate limiting: sensor_read.

- History

  - GET /api/data/history/?sensor_id=<id>&from=YYYY-MM-DD&to=YYYY-MM-DD

  - Auth: logged-in user.

- Incident export

  - GET /api/incidents/

  - Auth: requires Manager or Admin.

9. Common Errors and Solutions

9.1. Dashboard shows 502 Bad Gateway

Cause:

- The proxy (Caddy) is running, but the web container has crashed (often due to a wrong DATABASE_URL).

Solution:

- Check the logs:

bash

docker compose logs web

- Verify that .env contains:

env

DATABASE_URL=postgresql://smartenv:smartenv@db:5432/smart_env_monitor

- Restart:

bash

docker compose up -d --build

9.2. Simulator shows “Connection Error”

Cause:

- The backend is not responding (web/proxy down) or the BACKEND_URL is incorrect.

Solution:

- Verify that the Docker stack is running (docker compose ps).

- Verify that .env contains:

env

BACKEND_URL=http://localhost:18080/api/data/

9.3. Simulator shows “Unauthorized”

Cause:

- The DEVICE_API_KEY in the simulator does not match the DEVICE_API_KEY in the backend.

Solution:

- Set the same value in .env:

env

DEVICE_API_KEY=<same_key_in_backend_and_simulator>

9.4. /api/data/ shows “Method GET not allowed”

Cause:

- You opened the endpoint in a browser. It is designed for POST (sensor ingest), not for GET.

Solution:

- This is expected behaviour. Use the dashboard (/dashboard/) or the read API (/api/data/latest/, /api/data/history/) to view data.

10. Summary

- Start the system: .env → docker compose up -d --build.

- Create admin: docker compose exec web python manage.py createsuperuser.

- Start simulation: python sensor/simulator.py.

- Monitor:

  - Dashboard: http://localhost:18080/dashboard/

  - Health: http://localhost:18080/health/

  - Sensor health: docker compose exec web python manage.py check_sensor_health.

- Alerts and rules:

  - Create alert rules in /admin/api/alertrule/.

  - View alert history at the bottom of the dashboard and in /admin/api/alertevent/.